# IRAF Task

Astrophysical Techniques and Data Reduction

Shoaib Jamal Shamsi

We built iraf and x11iraf, and installed pyraf on our Ubuntu 24.04 system on WSL. We will now follow the tutorial highlighted in the IRAF_task.pdf document.

## 5) Data Reduction

### 5.1) Calibration

#### Baias Correction

- Combination of the Bias Files

We have some bias FITS files, listed both in the Copernico_coded.txt and bias.txt files. We will run the zerocorrection  task:

This outputs the M_bias file, which can be seen below:

- Applying the bias correction and trimming

We can now use the task ccdproc to apply bias correction from M_bias to all our images, saving the results with ‘_bias’ after the filename. We define the new filenames in a separate file called all_bias.txt.

TASK : ccdproc

PACKAGE : noao -> imred -> ccdred

input = @all.txt Text

output = @all_bias.txt

ccdtype = BLANK

fixpix = no

oversca = no

trim = yes

zerocor = yes

darkcor = no

flatcor = no

trimsec = [26:2065,7:2044]

zero = M_bias

The change in an example file and its bias-corrected counterpart can be seen below:

#### Flat Normalisation

- Combination of the flat images

We take our bias-corrected flat files, and use the task flatcombine to combine them:

This produces a M_filat file for us to do further corrections. It looks like the following:

- Fitting the flat lamp spectrum

We use the response task to model the flat lamp’s spectral response at high frequencies, so that only low frequency variations remain.

We interactively edit the spline3 function, removing some datapoint deviations and editing the order of the fit. We find that the order 3 best represents the response function without resorting to frequencies which were too high.

- Applying the flat correction

We once again use the ccdproc task, this time applying the flat correction to all of our bias corrected files using the flat_response file.

The effect of the flat correction can be seen in the following images, before and after the correction:

### 5.2) Spectrum Extraction

- Image Stacking

We use the imcombine task to combine the bias and flat corrected images for each of our objects. Copernico_coded.txt tells us which images are associated with which target files.

The stacked obj1 image plotted with implot looks like:

- Spectrum extraction

We then use the apall task to extract the spectrum, obtaining the following aperture, trace, and extracted spectrum files:

TASK : apall

PACKAGE : noao -> imred -> kpnoslit

input = obj1

output = obj1

recente = yes

resize = no

edit = yes

trace = yes

b_funct = chebyshev

b_order = 2

b_sampl = -70:-40,40:70

b_naver = -15

b_niter = 2

width = 5

radius = 5

nfind = 1

bkg = yes

t_nsum = 5

t_step = 5

t_funct = spline3

t_niter = 1

backgro = fit

weights = variance

clean = yes

And we’ll do the same for obj2. The stacked obj2 image looks like:

The aperture, trace, and extracted spectrum looks like:

### 5.3 Wavelength Solution

#### Processing emission lamp spectra

- Extraction of lamp spectra

We use the apall task to extract the spectra from each of the Ne lamps.

This yields the following spectra files:

And we repeat the same procedure for the HgCd files:

Which yields the following spectra files:

- Combining lamp spectra

We then combine all these spectra into a single lamps_combined file with the scombine task.

The combined file then looks like:

- Line identification and wavelength fitting:

Now we can use the identify task to identify and mark lines. We make sure to identify a healthy number of lines (~13) across the wavelength range, using the Ne and MgCd emission lines presented in the task.

The identified lines are shown below. We note that the lamps_combined file is initially plotted with the wavelength on the x-axis in a descending order. We take care to flip our reference images before identifying the lines.

The following file shows the residuals after fitting. We remove one point which had a higher than usual residual.

After identification, the lamps_combined file is flipped the right way around. We save this.

#### Wavelength mapping in science spectra

- Editing file header

It is now time to apply this spectrum reference to our obj1 spectrum file.

- Apply the wavelength solution

With the information in the header, we can now apply the wavelength solution using the dispcor task.

Finally, plotting obj1_speccor using splot gives us the following graph:

## 5.4) Flux Calibrations

#### Instrumental response

Let’s extract the spectrum for the calibration star BD284211 with apall as before.

The aperture, trace and spectrum for the calibration star are as follows:

We’ll add the reference spectrum information to the calibration star header:

And then apply the wavelength solution to the calibration star from its header:

The resulting calibration star spectrum looks like:

- Setting up flux calibration

Iraf has this information in its database and will find the flux calibration using the standard task.

- Fitting the sensitivity function

Using the sensfunc task, we’ll fit the sensitivity function:

This yields the following plot, which we accept:

- Applying the flux correction using the calibrate task:

This gives us the following flux corrected spectrum for obj1:

#### Correction for interstellar extinction

We use the deredden task as follows:

Finally, we can plot the dereddened spectrum: